## Pole data sheet
Last Mile Pole Data Collection
Applicant | Comments
Company: | Mass Broadband Institute
Application #: | #####
Contact Name: | John Furey
Contact Tel No: | 508-450-4296
Contact Cell No: | 508-450-4296
Contact E-Mail: | furey@masstech.org
Location
Municipality: | Wendell
State: | MA
County: | Franklin
Field Data Collection
Date Collected: | 2015-07-20
Collection Company: | John's Utility Data Firm
Collectors Name: | John Furey
COLLECTOR'S TELEPHONE NUMBER | 508-450-4396
Pole & Guy Data
Lat | 42.548
Long | -72.3934
Street Name | Montague Rd.
Pole Ownership | JO 50/50
Pole Number with Suffix
Electric # | 26
Tel # | 24
Unique Pole ID number | 523689
YEAR PLACED | 2005
HEIGHT OF POLE | 45
TYPE OF POLE | IN-LINE
Length/Class | Actual
Length | 45
Class | 4
Total height above grade | 38.2
Ground Line Circumference | 35"
Backspan Length (ft) | 168'
Span angle (degrees) | 4
Forespan Length (ft) | 157'
Span angle (degrees) | 0
Down Guys (sketch req'd) | No
Down Guy Qty | 0
Down Guy #1 Attachment Height | 0
Anchor #1 off-set (ft) | 0
Down Guy #2 Attachment Height | 0
Anchor #2 off-set (ft) | 0
Body of water within 200ft | No
Pole Condition Comments | Good
POTENTIAL NESC OR SAFETY VIOLATIONS | No |  | DESCRIBE:
NON-STANDARD FIELD CONDITION AFFECTING POLE REPLACMENT OR MAKE READY: | No |  | DESCRIBE BELOW
Existing Attachments Note: All measurements are "height above grade" [IS THIS THE SAME AS "FROM BOTTOM-UP, ZERO POINT WHERE BASE OF POLE AND GROUND INTERSECT"?]
Electric
Primary Construction Type (circle one) | Crossarm
Double Circuit | No
Number of Phases | 1
Junction Pole | No
Jct 3-Ph Height
Jct 1-Ph Height
Electric Risers | No
Primary Riser | N/A
Primary Riser Height
Secondary Riser | N/A
Secondary Riser Height
Pole Top Extension | No
Primary Wire Size | 1st Circuit | small (1/0) |  | Double Circuit | None
| Height | [5 empty] | Feet | Inches | Tot. Inches
Primary | 36' 2" | [5 empty] | 36 | 2 | 434
Primary
Lowest Inline Primary Wire Height
[7 empty] | Feet | Inches | Tot. Inches
Secondary | 23' 3" | [5 empty] | 23 | 3 | 279
Secondary lowest
Supply space fiber
Bare Neutral | Yes
Backspan
Forespan
Streetlight | No
Streetlight Height
Streetlight - bottom of drip loop
Streelight drip loop covered | No
Equipment (sketch)
Transformer Qty | 0
Transformer Height (place where secondary wire enters bushing)
Transformer KVA Size
Capacitor Height (place where secondary wire enters bushing)
Recloser Height (place where secondary wire enters bushing)
Terminal Bracket Height (spot where xarm bolted to pole)
Other equipment | NA
Wired Communications
Total # of communication wire attachments: | 3
Telco Risers | No
Existing Telco Boxed | No
From lowest to highest comm attachment | Co. Name | Height | Mid-span | Roadside | Fieldside | ext arm | Feet | Inches | Tot. Inches | MS Feet | MS Inches | MS Tot. Inches
Lowest comm attachment | VZ | 18' 4" | 17' 8" | X |  | N | 18 | 4 | 220 | 17 | 8 | 212
2nd lowest comm attachment | VZ | 18' 10" | 17' 10" | X |  | N | 18 | 10 | 226 | 17 | 10 | 214
3rd lowest comm attachment | MBI | 19' 6" | 18' 2" | X |  | N | 19 | 6 | 234 | 18 | 2 | 218
4th lowest comm attachment |  |  | N/A
5th lowest comm attachment |  |  | N/A
6th lowest comm attachment |  |  | N/A
Highest comm attachment | MBI | 19' 6" | 18' 2" | X |  | N | 19 | 6 | 234 | 18 | 2 | 218
Other Attachments
Municipal wire attachments? | No
Municipal wire attachment height
Traffic signal attachments? | No
Traffic signal attachments height
Wireless Attachments? | No
Wireless Attachments height
Communication conduit riser(s) #' | No
Photo
# of Digital photos: | 1
Digital Photo Number(s) | 125658
Make Ready Cost Estimate
Cost Estimate | Low
Add'l Notes / Comments
This is just an example.

## Summary
Application Information
Applicant Name: |  |  |  | Mass Broadband Institute |  |  |  | Application #: |  | ##### |  |  |  | State: | Massachusetts
Applicant Contact Name: |  |  |  | John Furey |  |  |  | Data Collection Date: |  | 2015-07-20 |  |  |  | Town: | Wendell
Contact phone #: |  |  |  | 508-450-4296 |  |  |  | e-mail: | furey@masstech.org
Item | Pole No. |  |  | Street Name |  | Identification |  | Pole |  | Risers |  | Ext'ing Pole Boxed | Streetlight | Juntion Pole | Existing Clearances at pole | [7 empty] | Existing Mid-Span clearance
| Tel | Electric | picture #s |  | Latitude | Longatude | Unique Pole ID # | Length | Class | Elect | Comm |  |  |  | Lowest Comm to grade | 2nd Lowest Comm to grade | 3rd Lowest Comm to grade | 4th Lowest Comm to grade | 5th Lowest Comm to grade | 6th Lowest Comm to grade | Highest Comm to lowest Elect | Primary to Sec'dary/Neutral | Lowest Comm to grade | 2nd Lowest Comm to grade | 3rd Lowest Comm to grade | 4th Lowest Comm to grade | 5th Lowest Comm to grade | 6th Lowest Comm to grade | Highest Comm to lowest Elect | Primary to Sec'dary/Neutral
1 | 24 | 26 | 1 | Montague Rd. | 42.548 | -72.3934 | 523689 | 45 | 4 | No | No | No | No | No | 18' 4" | 18' 10" | 19' 6" |  |  |  | 3' 9" | 12' 11" | 17' 8" | 17' 10" | 18' 2"

## DropDowns
PoleOwner
JO 50/50
SO TELCO
SO ELCO | Minimum Collection data
OTHER
Applicant name
TypePole | Applicant phone #
IN-LINE | State
INTERSECTING | Muni
job #
TAP IN | Surveyors Name
Surveyors Phone #
LengthClass | Date of collection
Actual | Street Name
Estimate | Telco pole #
Elco Pole #
YorNDDown | Attachment Type
Yes | Pole ownership
No | Unique pole ID #
N/A | Lat and Long
PoleCondition
Good
Fair
Questionable
PrimaryConstType
Crossarm
Armless
Spacer
Single Phase
Other
None
NumPhases
1
2
3
0
PrimaryWireSize
small (1/0)
large (366/477)
None
MRAssessment
Low
Medium
High